|  | Minutes |
| --- | --- |

Monday 9th January 2023, 15:00, MS Teams

Present: Angela Roberts (chair) Colin Windle, Kevin Mulvihill, Jo Keeley, Danielle Oberle, Josh Watts, Karl Wilson,

Apologies: Sophie Wildman, Keith Savill, Alan Graham, Miriam Gwilt, Stephen Sawiak, Stacey Gould, Debs Flack.

Minutes: Victoria Gomes

University Biomedical Services User Committee – Innes

- Minutes

The minutes from the meeting held on Monday 5th September were approved.

- Chairs Report  (From the Facilities Operations and Management Committee)

Nothing to report from FOM

- Facilities Manager’s Report - Colin Windle

- Staffing

- Colin Windle (CW) informed the team remains a service technician short however, a new temp should be joining next week.

- Occupancy

Occupancy has reduced slightly to 194 Marmosets.

Breeding room’s occupancy is at 75% for mobile cages, 66% for breeding pens. Experimental rooms’ occupancy is at 33% for breeding pens & 66% for mobile cages. Occupancy for imaging rodents is 0%.

Danielle Oberle (DO) informed she will commencing breeding again due to the reducing stock numbers and the need for new breeding pairs.

- Equipment – new/needed/problems etc.

- All lighting in the corridors and outside the building has now been replaced, with the outside lights now making a significant improvement to external safety and security. Lighting is intended to be replaced within the animal holding rooms and offices in the future.

- Dropper ducts have now been cleaned and sealed which has improved ventilation.

- (CW) apologised for the unreliable cage washer which has undergone repairs to the pneumatic air lines. The air compressor supplying the cage washer will be moved to a cooler room as the temperature of the boiler room may be contributing to the issues.

- Health, Safety and Security

One accident to report, which involved a technician being impaled with a drawing pin.

(CW) informed he had sent out guidance on sharps safety and encouraged all to read through it with reminder posters being displayed.

(CW) explained that he will be producing an SOP for handling deliveries at Innes following an accident at another UBS location. In the meantime University guidance regarding deliveries and heavy loads has been circulated which (CW) urged all to read.

UBS staff have received manual handling and working at heights training. (CW) encouraged Users to look into arranging the same.

- General Administrative Update

The Home Office audit report was received with a number of errors. Karl Wilson (KW) explained this could be a due to the requirement that the report is not written by the attending auditor.

The Establishment licence has been amended however it has no effect on the operation of the building and all rooms remain on the licence under the same authorities.

(CW) reminded that Home Office returns are due by the end of the month.

- Report from AWERB Operations Committee

Nothing to report

- Named Veterinary Surgeon Report – Sophie Kimpton

Jo Keeley (JK) reported that Intradermal Suturing was not relevant to Innes as it is standard.

(JK) was delighted to inform that Angela Roberts (AB) new project Licence application has been approved by the Home Office. (AR) informed that some slight changes are needed before it is issued for May.

- Named Information Officer Report

A report was circulated to the committee prior to the meeting.

- User Reports

(AR) explained the difficulties (CW) has had with procuring new fobs for the building and is awaiting an estimated delivery time.

- Technician comments

None

- Innes Building redecoration

(CW) reported that Innes is expecting major disruptions throughout February due to the buildings redecoration.

Decoration of surgery and testing corridors followed by cage wash and marmoset corridors will begin week commencing 13th of February for two weeks. Marmosets will likely be able to see strangers while door frames are being painted.

Flooring in the corridors is scheduled for the week commencing 20th of February therefore to expect difficulties accessing the animal rooms. Users might only have access for an hour or two in the morning and again at the end of the day. The Proposed Programme of Works was circulated prior to the meeting which details the dates of work.

Offices will need to cleared, with desks being moved to allow decoration for week commencing 20th of February. (CW) asked for needed greater flexibility while the work is carried out as behavioural testing may be affected due to strangers’ being present however the imaging areas are not affected.

- The 3R’s

A report was circulated to the committee prior to the meeting.

- Any Other Business

None

Date of next meetings: Monday 8th May at 15:00.